## Pump
Inputs |  | Units | Error ?
Location of Steam.dll | C:\STEAM\STEAM.DLL
Inlet Pressure | 0.035 | bar
Saturated Water | 0
Outlet Pressure | 12 | bar
Isentropic Efficiency | 0.9
Mass Flow | 2 | Kg/s
Outputs
Inlet Enthalpy | #NAME? | KJ/Kg | #NAME?
Inlet Entropy | #NAME? | KJ/Kg,K | #NAME?
Inlet Temperature | #NAME? | degree C | #NAME?
Enthalpy of Isentropic Compression | #NAME? | KJ/Kg | #NAME?
Outlet Enthalpy | #NAME? | KJ/Kg | #NAME?
Input Power | #NAME? | KW | #NAME?
Outlet Temperature | #NAME? | degree C | #NAME?
Outlet Entropy | #NAME? | KJ/Kg,K | #NAME?
Outlet Specific Volume | #NAME? | m3/Kg | #NAME?
Inlet Specific Volume | #NAME? | m3/Kg | #NAME?
This MS EXCEL document shows how the DLL version of Steam
Properties can be used for calculation of feed-pump.
Saturated water is supplied to a feed-pump at 0.035 bar. The outlet
pressure is 12 bar.
1-Calculate the input power to the feed-pump if the mass flow of the
water is 2 kg/s and the isentropic efficiency of the pump is 0.9
2-Calculate specific enthalpy, specific entropy, specific volume and
temperature of the water before and after the pumping process
Note:
1-It is assumed (by running dllsetup.exe prior to start of EXCEL) that
the units are set as following:
Pressure(bar), Temperature(C), Enthalpy(KJ/Kg), Entropy(KJ/Kg,K),
Specific Volume (m3/Kg)
2-In case of using 32-bit version of MS EXCEL use steam32.dll instead
of steam.dll
3-Adjust the content of cell "LocationOfDLL" to appropriate value
Taftan Data
Nydala Torget 2, Box 23538
S-20045, Malmo,
Sweden
Fax: +46 70 614 8730
Internet: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com