## Adiabatic Sat. Temp.
Inputs |  | Units | Error ?
Dry-bulb temperature = T1 = Td | 22 | #VALUE!
Wet-bulb temperatrure | 14 | #VALUE!
Atmospheric pressure | 1.013 | #VALUE!
Outputs
Moisture content = g1 = InletMC | #VALUE! | kg/kg | #VALUE!
Spec. heat capacity at inlet = Cp | #VALUE! | #VALUE! | #VALUE!
Spec. enthalpy at inlet = InletH | #VALUE! | #VALUE! | #VALUE!
Assume that adiabatic saturation
temperature Tsat, is 30 degC | 13.792 | #VALUE! |  | Assumed
Saturated air has the same temp.
for dry and wet bulb which results
into the following
moisture content at outlet=OutletMC | #VALUE! | kg/kg | #VALUE!
Now the enthalpy at outlet can be
calculated. OutletH is: | #VALUE! | #VALUE! | #VALUE!
We know that in an adiabatic
process diff = OutletH - InletH = 0 | #VALUE! |  |  | Goal
Now, use the solver to adjust cell
Tsat, until the goal cell
diff is zero.
Adiabatic Saturation Temp. =Tsat = | 13.7918 | #VALUE!
This worksheet shows how Thermo Utilities, MS Excel Add-ins
can be used to calculate the adiabatic saturation temperature of
humid air.
Determine the adiabatic saturation temperature of air at the
following conditions:
dry-bulb temperature 22 degC
wet-bulb temperature (sling) 14 degC
atmospheric pressure 1.013 bar
Taftan Data
Email: support@taftan.com
If you wish to know more about "Taftan Data" or other software
developed by this company please visit our website:
http://www.taftan.com
An adiabatic process is defined as a process in which no external heat enters or leaves the system under consideration.
Adiabatic humidification process: Air is flowing through a perfectly insulated duct with an open water tank in the bottom of it. If the tank is infinitely long, the air at the outlet will be 100% saturated.
Inlet: dry-bulb temperature T1 and moisture content g1
Outlet: dry-bulb temperature T2 and moisture content g2
We may write: h1 = h2 or Sensible heat loss = Latent heat gain i.e.
Cp * ( T1 - T2 ) = Hfg * ( g2 - g1 )