## Humidification with heating
Inputs |  | Units
Inlet air, DBT | 9 | #VALUE!
Inlet air, WBT | 3 | #VALUE!
Inlet air, mass flow rate | 2 | kg/s
Contact factor of the humidifier | 0.7
Heat provided by the calorifier | 40 | kW
Atmospheric pressure | 1.0132 | #VALUE!
Output
moisture content of inlet air | #VALUE!
Spec. enthalpy at inlet | #VALUE! | #VALUE!
Spec. enthalpy at outlet | #VALUE! | #VALUE!
Spec. enthalpy at ADP | #VALUE! | #VALUE!
Temperature at ADP | 15.3825 | #VALUE! | Assumed
moisture content at ADP | #VALUE!
Estimate spec. enthalpy at ADP | #VALUE! | #VALUE!
Diff = Estimated(h) - h = 0 | #VALUE! |  | Goal
Use solver to reach the goal
moisture content of outlet air | #VALUE!
make-up water req. | #VALUE! | kg/s
Dry-bulb temp at outlet | #VALUE! | #VALUE!
This document shows how Thermo Utilities, MS Excel Add-ins can be used for calculation of air washer with heating of spray water.
In an air conditioning plant, air flow rate of 2 kg/s passes through a spray water humidifier with a contact factor 0.7. The calorifier provides 40 kW. Determine the moisture content and temperature of the air leaving the humidifier and the amout of make-up water needed. The dry and wet-bulb temperature of the inlet air are 9 C and 3 C respectively.
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com
The contact factor of a humidifier is defined as the efficiency for humidification. A 100% efficient humidifier will bring the moisture content of the air to the saturation moisture content at the apparatus dew-point, mcC. The contact factor of the humidifier can be defined by the moisture content differences:
cf = (mcB - mcA)/(mcC - mcA)
or
cf = (hB - hA)/(hC - hA)