## Condenser Design
Inputs |  | Units | Error ?
Wet steam inlet temperature | 37 | #VALUE!
Steam quality | 0.95
Cooling water inlet temperature | 7 | #VALUE!
Cooling water inlet pressure | 1.2 | #VALUE!
Cooling water outlet temperature | 22 | #VALUE!
Cooling water outlet pressure | 1.013 | #VALUE!
Steam mass flow | 15000 | kg/h
Cooling water speed | 1.5 | m/s
Outputs
Wet steam pressure | #VALUE! | #VALUE! | #VALUE!
Enthalpy of steam at inlet | #VALUE! | #VALUE! | #VALUE!
Enthropy of condensate | #VALUE! | #VALUE! | #VALUE!
Rejected heat/hour | #VALUE! | kJ/h
Rejected heat/second | #VALUE! | kW
Enthalpy of water at inlet | #VALUE! | #VALUE! | #VALUE!
Enthalpy of water at outlet | #VALUE! | #VALUE! | #VALUE!
Water mass flow | #VALUE! | kg/h | #VALUE!
The overall heat tranfer coefficient can be calculated according to BEAMA or HEI standards.
BEAMA : British Electrical and Allied Manufacturers Association
BEAMA publication on the recomended practice for design of surface type steam condenser
HEI : Heat Exchanger Institute
HEI standards for steam surface condensers
Outputs |  | Unit
Heat transfer coeff.(BEAMA) | 2.9523 | kW/m2,K
Logarithmic mean temp. diff. | 49.8289 | degree K
Required area | #VALUE! | m2 | #VALUE!
If we use the less conservative HEI method we obtain the following:
Outputs |  | Unit
Heat transfer coeff.(HEI) | 3.6099 | kW/m2,K
Required area | #VALUE! | m2 | #VALUE!
This document shows how Thermo Utilities, MS Excel Add-ins can be used for condenser design.
A surface condenser is required to deal with 15 000 kg/h wet steam.
Wet steam temperature is 37 C and enters the condenser with 0.95
quality (dryness fraction is 0.95). The water used for cooling has the
following data:
-inlet pressure 1.20 bar, inlet temperature 7 C
-outlet pressure 1.013 bar, outlet temperature 22 C
Calculate the flow rate of cooling water and tube surface of the
condenser. Assume that the cooling water velocity through tubes is
1.5 m/s
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com