## Cooling tower
COOLING TOWER
Water inlet mass flow rate | 5.5 | kg/s
Water inlet temperature | 44 | C
Induced air flow rate | 9 | m3/s
Power absorbed by air (power used by fan) | 4.75 | kW
Inlet air temperature | 18 | C
Inlet air relative humidity | 60 | %
Outlet air temperature | 26 | C
Outlet air relative humidity | 100 | %
Air pressure thru tower | 1.013 | bar
Calculate
mass flow rate of make-up water
Final temperature of water leaving the cooling tower
At inlet
Pg | #VALUE! | bar
partial pressure of water | #VALUE! | bar
Partial pressure of other gases in inlet air | #VALUE! | bar
Mass flow rate of air (dry) | #VALUE! | kg/s
Mass flow rate of water in the air | #VALUE! | kg/s
moisture content | #VALUE!
At Exit
Pg | #VALUE! | bar
specific humidity/moisture content | #VALUE!
Mass flow rate of water in the air | #VALUE! | kg/s
Make-up water req. | #VALUE! | kg/s
Water leaving the cooling tower | #VALUE! | kg/s
Applying steady-flow condition | m[kg/s] | h[kJ/kg] | m*h[kJ/s]
Inlet air | #VALUE! | #VALUE! | #VALUE!
Outlet air | #VALUE! | #VALUE! | #VALUE!
Inlet water | 5.5 | #VALUE! | #VALUE!
Outlet water | #VALUE! | #VALUE! | #VALUE!
Outlet water temperature | #VALUE! | C
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com