## Direct steam injection
Inputs |  | Units
Inlet air, DBT | 9 | #VALUE!
Inlet air, WBT | 3 | #VALUE!
Inlet air, mass flow rate | 2 | kg/s
Outlet air, moisture content | 0.008
Atmospheric pressure | 1.0132 | #VALUE!
Output
moisture content of inlet air | #VALUE!
Outlet air, DBT | 9
Spec. enthalpy at inlet | #VALUE! | #VALUE!
Spec. enthalpy at outlet | #VALUE! | #VALUE!
Load on the humidifier | #VALUE! | kW
steam supplied | #VALUE! | kg/s
This document shows how Thermo Utilities, MS Excel Add-ins can be used for calculation of steam humidifiers.
In an air conditioning plant, air flow rate of 2 kg/s passes through a steam humidifier. Determine the load on the humidifier and the steam supplied. The dry and wet-bulb temperature of the inlet air are 9 C and 3 C respectively. Air leaves the humidifier with a moisture content of 0.008
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com
Steam can be directly injected to air stream for air conditioning purposes. In this process, all the latent heat necessary for evaporation of water is added outside the air stream. The supply of water vapor increases the enthalpy of the air. The temperature increase in this process is negligible and it can be assumed as an isothermal process with good approximation. Load on humidifier is:
Q = mA * (hB - hA)
and the steam supplied by humidifier is:
mSteam = mA * (mcB - mcA)