## Pan steam humidifier
Inputs |  | Units
Inlet air, DBT | 9 | #VALUE!
Inlet air, WBT | 3 | #VALUE!
Inlet air, mass flow rate | 2 | kg/s
Outlet air, moisture content | 0.008
Atmospheric pressure | 1.0132 | #VALUE!
Output
moisture content of inlet air | #VALUE!
Outlet air, DBT | 12.657 | #VALUE! | Assumed
Spec. enthalpy at inlet | #VALUE! | #VALUE!
Spec. enthalpy at outlet | #VALUE! | #VALUE!
Load on the humidifier = total heat | #VALUE! | kW
Sensible heat | #VALUE! | #VALUE!
Qs / Q = 0.2 | #VALUE! |  | Goal
Use the solver to reach the goal
steam supplied | #VALUE! | kg/s
This document shows how Thermo Utilities, MS Excel Add-ins can be used for calculation of steam humidifiers.
In an air conditioning plant, air flow rate of 2 kg/s passes through a pan steam humidifier. Determine the load on the humidifier and the steam supplied. The dry and wet-bulb temperature of the inlet air are 9 C and 3 C respectively. Air leaves the humidifier with a moisture content of 0.008
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com
A pan steam humidifier uses a heating element inside a water tank. The tank is mounted at the bottom of the air duct. The air flowing over the water surface will cause some evaporative cooling which results in drop of air dry-bulb temperature. The ratio of sensible heat to total heat is approximately 0.2
Load on the humidifier is:
Q = mA * (hB - hA)
and the steam supplied by humidifier is:
mSteam = mA * (mcB - mcA)