## Sensible Cooling
Inputs |  | Units
on-coil air, DBT | 25 | #VALUE!
on-coil air, moisture content | 0.005
on-coil air, mass flow rate | 2 | kg/s
off-coil air, DBT | 10 | #VALUE!
off-coil air, moisture content | 0.005
off-coil air, mass flow rate | 2 | kg/s
Atmospheric pressure | 1.0132 | #VALUE!
Output
Dew-point temperature | #VALUE! | #VALUE!
Specific enthalpy of the on-coil air | #VALUE! | #VALUE!
Specific enthalpy of the off-coil air | #VALUE! | #VALUE!
Load on the coil | #VALUE! | kW
This document shows how Thermo Utilities, MS Excel Add-ins can
be used for calculation of sensible cooling process.
In an air conditioning plant, air flow rate of 2 kg/s passes through a
coil. The dry-bulb temperature decreases from 25 C to 10 C.
The moisture content of the air is 0.005. Determine the load on the
coil. Surface temperature of the coil is above the dew-point
temperature i.e.
the moisture content
is constant.
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com