## Cooling with dehumidification
Inputs |  | Units
on-coil air, DBT | 24 | #VALUE!
on-coil air, moisture content | 0.01
on-coil air, mass flow rate | 2 | kg/s
off-coil air, DBT | 12 | #VALUE!
off-coil air, moisture content | 0.008
Atmospheric pressure | 1.0132 | #VALUE!
Output
Specific enthalpy of the on-coil air | #VALUE! | #VALUE!
Specific enthalpy of the off-coil air | #VALUE! | #VALUE!
Load on the coil | #VALUE! | kW
Apparatus dew-point moisture content | 0.0077329 |  | Assumed
Apparatus dew-point temperature | #VALUE! | #VALUE!
Apparatus dew-point enthalpy | #VALUE! | #VALUE!
Coil contact factor Eq1 | 0.88217
Coil contact factor Eq2 | #VALUE!
Diff = Eq1-Eq2 = 0 | #VALUE! |  | Goal
Use the solver to reach the goal
This document shows how Thermo Utilities, MS Excel Add-ins can
be used for calculation of sensible cooling with dehumidification.
In an air conditioning plant, air flow rate of 2 kg/s passes through a
coil. The dry-bulb temperature decreases from 24 C to 12 C.
The moisture content of the air decreses from 0.010 to 0.008.
Determine the load on the coil, contact factor of the coil and
apparatus dew-point
temperature, ADP.
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com
The contact factor of a coil is defined as the efficiency for dehumidification. A 100% efficient coil will bring the moisture content of the air to the saturation moisture content at the apparatus dew-point, mcC. The contact factor of the coil can be defined by moisture content differences:
cf = (mcA - mcB)/(mcA - mcC)
or
cf = (hA - hB)/(hA - hC)