## Sheet1
Inputs |  | Units
Inlet air, DBT | 10 | #VALUE!
Inlet air, moisture content | 0.005
Inlet air, mass flow rate | 2 | kg/s
Outlet air, DBT | 24 | #VALUE!
Outlet air, moisture content | 0.005
Outlet air, mass flow rate | 2 | kg/s
Outputs
Specific enthalpy of the inlet air | #VALUE! | #VALUE!
Specific enthalpy of the outlet air | #VALUE! | #VALUE!
Load on the heater battery | #VALUE! | kW
This document shows how Thermo Utilities, MS Excel Add-ins can
be used for calculation of sensible heating process.
In an air conditioning plant, air flow rate of 2 kg/s passes through a
heater battery. The dry-bulb temperature rises from 10 C to 24 C.
The moisture content of the air is 0.005. Determine the load on the
heater battery.
Taftan Data
Email: support@taftan.com
If you want to know more about "Taftan Data" or other software developed by this company please visit our website:
http://www.taftan.com